## Monthly Energy Log
PLANT ENERGY CONSUMPTION LOG — FY 2025-26 ¦ Chennai Manufacturing Unit ¦ CONFIDENTIAL
Log ID | Month | Week No. | Production Line | Shift (A/B/C) | Machine ID | Runtime (hrs) | Grid Units Consumed (kWh) | Captive DG Units (kWh) | Peak Tariff Units (kWh) | Off-Peak Units (kWh) | Power Factor | Transformer Load % | Remarks / Downtime Notes
EL-2500 | Apr-25 | 41 | Line A | A | MCH-207 | 164.5 | 64070 | 1717 | 28712 | 35358 | 0.9 | 76.8 | Normal ops
EL-2501 | May-25 | 2 | Line A | A | MCH-205 | 190.5 | 56725 | 2392 | 24390 | 32335 | 0.9 | 63.2 | New product trial run
EL-2502 | Jun-25 | 18 | Line A | A | MCH-315 | 174 | 65106 | 7700 | 23915 | 41191 | 0.83 | 58.6 | Partial load - order shortage
EL-2503 | Jul-25 | 39 | Line C | A | MCH-400 | 193.6 | 118253 | 3650 | 48532 | 69721 | 0.94 | 77.9 | Partial load - order shortage
EL-2504 | Aug-25 | 37 | Line B | C | MCH-102 | 144.6 | 69813 | 3026 | 22058 | 47755 | 0.85 | 58.7 | Full capacity run
EL-2505 | Sep-25 | 30 | Line C | A | MCH-312 | 175.5 | 98561 | 5913 | 43043 | 55518 | 0.83 | 78.5 | Holiday shift
EL-2506 | Oct-25 | 47 | Line B | A | MCH-400 | 177.9 | 119319 | 5480 | 49087 | 70232 | 0.92 | 86.2 | Normal ops
EL-2507 | Nov-25 | 15 | Line A | B | MCH-315 | 166.8 | 68714 | 7600 | 32658 | 36056 | 0.87 | 79.3 | Preventive maint.
EL-2508 | Dec-25 | 42 | Line D | A | MCH-207 | 154 | 103424 | 4773 | 46479 | 56945 | 0.88 | 76.6 | Partial load - order shortage
EL-2509 | Jan-26 | 15 | Line B | C | MCH-400 | 149.1 | 58063 | 1768 | 24705 | 33358 | 0.94 | 70.6 | Planned shutdown
EL-2510 | Feb-26 | 25 | Line D | C | MCH-400 | 192.9 | 118120 | 7025 | 35707 | 82413 | 0.93 | 80.2 | Holiday shift
EL-2511 | Mar-26 | 49 | Line C | C | MCH-312 | 151.2 | 83260 | 4176 | 40861 | 42399 | 0.95 | 64.7 | Holiday shift
EL-2512 | Apr-25 | 49 | Line B | C | MCH-102 | 227.1 | 74399 | 5473 | 31381 | 43018 | 0.84 | 83.2 | Holiday shift
EL-2513 | May-25 | 50 | Line A | C | MCH-312 | 188.9 | 62271 | 3541 | 30953 | 31318 | 0.94 | 63.9 | Capacitor bank tripped
EL-2514 | Jun-25 | 37 | Line A | A | MCH-400 | 221.6 | 118569 | 4729 | 38553 | 80016 | 0.92 | 90 | Voltage fluctuation noted
EL-2515 | Jul-25 | 17 | Line D | A | MCH-205 | 211.3 | 80934 | 5702 | 30325 | 50609 | 0.95 | 71.7 | Capacitor bank tripped
EL-2516 | Aug-25 | 15 | Line A | B | MCH-101 | 198.8 | 69957 | 2542 | 21980 | 47977 | 0.91 | 63.5 | Normal ops
EL-2517 | Sep-25 | 22 | Line A | C | MCH-205 | 167.8 | 86552 | 4775 | 38487 | 48065 | 0.95 | 76.3 | Capacitor bank tripped
EL-2518 | Oct-25 | 51 | Line D | B | MCH-205 | 149.4 | 97834 | 3480 | 37394 | 60440 | 0.95 | 57 | Overtime - export order
EL-2519 | Nov-25 | 42 | Line A | A | MCH-315 | 212.8 | 107039 | 1765 | 36213 | 70826 | 0.9 | 60.2 | Voltage fluctuation noted
EL-2520 | Dec-25 | 18 | Line D | A | MCH-102 | 184.3 | 110988 | 4852 | 34419 | 76569 | 0.97 | 85.9 | Planned shutdown
EL-2521 | Jan-26 | 49 | Line B | A | MCH-315 | 188.6 | 68894 | 3807 | 21476 | 47418 | 0.88 | 91.5 | Full capacity run
EL-2522 | Feb-26 | 51 | Line D | B | MCH-315 | 209.7 | 102483 | 6484 | 44311 | 58172 | 0.89 | 62 | Capacitor bank tripped
EL-2523 | Mar-26 | 4 | Line A | C | MCH-312 | 145.7 | 92972 | 4520 | 43747 | 49225 | 0.84 | 90.5 | Planned shutdown
EL-2524 | Apr-25 | 12 | Line A | C | MCH-102 | 207.5 | 70288 | 1839 | 33602 | 36686 | 0.86 | 77 | New product trial run
EL-2525 | May-25 | 6 | Line D | C | MCH-312 | 233.5 | 68277 | 6013 | 23742 | 44535 | 0.88 | 79.9 | Full capacity run
EL-2526 | Jun-25 | 30 | Line C | A | MCH-101 | 185.8 | 119900 | 7973 | 37727 | 82173 | 0.85 | 64.8 | Partial load - order shortage
EL-2527 | Jul-25 | 5 | Line B | B | MCH-207 | 155.8 | 109193 | 5925 | 46116 | 63077 | 0.97 | 79.2 | Normal ops
EL-2528 | Aug-25 | 43 | Line C | C | MCH-102 | 233.9 | 63729 | 1808 | 20483 | 43246 | 0.9 | 65.1 | New product trial run
EL-2529 | Sep-25 | 14 | Line C | A | MCH-207 | 190.5 | 71323 | 7357 | 22122 | 49201 | 0.92 | 85.7 | Normal ops