## CAPEX TCO Raw Data
CAPITAL INVESTMENT EVALUATION — ENERGY BOTTLENECK OPTIONS ¦ STRATEGIC FINANCE ¦ DRAFT
Entry ID | Vendor Code | Vendor Name | Option Category | Component / Scope Item | Unit | Qty | Unit Cost (₹) | Total Cost (₹) | Expected Life (Yrs) | Annual O&M (₹) | Subsidy / Incentive (₹) | Lead Time (Weeks) | Risk Flag | Evaluation Notes
CAP-4000 | VND-A01 | Schneider Electric India | Option A – Retrofit | Power Factor Correction Unit | Nos | 4 | 320000 | 1282135 | 18 | 40988 | 80258 | 5 | Low | OEM warranty 5 yrs; spare parts locally available
CAP-4001 | VND-A02 | Siemens Ltd | Option A – Retrofit | VFD Drive for HVAC | Nos | 6 | 180000 | 1083817 | 10 | 35150 | 0 | 12 | Low | Delivery ex-stock Chennai warehouse
CAP-4002 | VND-A03 | ABB India | Option A – Retrofit | LED Industrial Lighting Retrofit | Lot | 1 | 450000 | 449397 | 20 | 25889 | 77091 | 12 | Medium | Requires civil modification to existing panel room
CAP-4003 | VND-A04 | Havells Industrial | Option A – Retrofit | Automatic Voltage Regulator | Nos | 3 | 210000 | 628995 | 13 | 39513 | 0 | 10 | Medium | DISCOM approval pending; 6-week timeline
CAP-4004 | VND-A05 | L&T Electrical | Option A – Retrofit | SCADA Energy Monitoring System | System | 1 | 680000 | 680511 | 20 | 25194 | 99997 | 9 | High | Price valid 30 days; subject to forex movement
CAP-4005 | VND-B01 | Vikram Solar | Option B – Solar | SCADA & Remote Monitoring | System | 1 | 290000 | 285475 | 20 | 19829 | 0 | 13 | Low | MNRE subsidy applicable under PM-KUSUM scheme
CAP-4006 | VND-B02 | Tata Power Solar | Option B – Solar | Civil Work & Foundation | Lot | 1 | 520000 | 521767 | 25 | 28935 | 139217 | 20 | Medium | Preferred vendor; past reference from Pune plant
CAP-4007 | VND-B03 | Waaree Energies | Option B – Solar | Battery Storage (Optional) | kWh | 100 | 28000 | 2795954 | 24 | 21674 | 0 | 7 | High | Alternative vendor shortlisted; negotiation in progress
CAP-4008 | VND-B04 | Adani Solar | Option B – Solar | Grid Synchronisation Unit | Nos | 2 | 175000 | 349800 | 26 | 19657 | 0 | 17 | Low | High lead time; order to be placed by Aug-25
CAP-4009 | VND-B05 | Greenko Group | Option B – Solar | Annual AMC Contract | Year | 1 | 180000 | 176820 | 30 | 26355 | 0 | 7 | Medium | O&M bundled with 3-yr service agreement
CAP-4010 | VND-A01 | Schneider Electric India | Option A – Retrofit | Power Factor Correction Unit | Nos | 4 | 321625 | 1286500 | 12 | 21841 | 162451 | 17 | Low | OEM warranty 5 yrs; spare parts locally available
CAP-4011 | VND-A02 | Siemens Ltd | Option B – Solar | String Inverter (50kW) | Nos | 7 | 221971 | 1553797 | 22 | 23194 | 194249 | 10 | Low | Delivery ex-stock Chennai warehouse
CAP-4012 | VND-A03 | ABB India | Option A – Retrofit | LED Industrial Lighting Retrofit | Lot | 2 | 449118 | 898236 | 12 | 11636 | 60484 | 5 | Medium | Requires civil modification to existing panel room
CAP-4013 | VND-A04 | Havells Industrial | Option B – Solar | DC Cabling & AC Cabling | Lot | 1 | 378138 | 378138 | 11 | 45623 | 82482 | 5 | Medium | DISCOM approval pending; 6-week timeline
CAP-4014 | VND-A05 | L&T Electrical | Option A – Retrofit | SCADA Energy Monitoring System | System | 1 | 679853 | 679853 | 12 | 24848 | 0 | 6 | High | Price valid 30 days; subject to forex movement
CAP-4015 | VND-B01 | Vikram Solar | Option B – Solar | SCADA & Remote Monitoring | System | 2 | 285745 | 571490 | 6 | 35435 | 0 | 17 | Low | MNRE subsidy applicable under PM-KUSUM scheme
CAP-4016 | VND-B02 | Tata Power Solar | Option A – Retrofit | Cable & Wiring Upgrade | Metres | 799 | 9718 | 7764682 | 5 | 36574 | 133049 | 16 | Medium | Preferred vendor; past reference from Pune plant
CAP-4017 | VND-B03 | Waaree Energies | Option B – Solar | Battery Storage (Optional) | kWh | 101 | 26020 | 2628020 | 6 | 18886 | 0 | 4 | High | Alternative vendor shortlisted; negotiation in progress
CAP-4018 | VND-B04 | Adani Solar | Option A – Retrofit | Harmonic Filter | Nos | 5 | 168056 | 840280 | 7 | 36736 | 0 | 6 | Low | High lead time; order to be placed by Aug-25
CAP-4019 | VND-B05 | Greenko Group | Option B – Solar | Annual AMC Contract | Year | 1 | 188289 | 188289 | 23 | 57202 | 0 | 5 | Medium | O&M bundled with 3-yr service agreement
CAP-4020 | VND-A01 | Schneider Electric India | Option A – Retrofit | Power Factor Correction Unit | Nos | 6 | 324933 | 1949598 | 24 | 48491 | 69162 | 16 | Low | OEM warranty 5 yrs; spare parts locally available
CAP-4021 | VND-A02 | Siemens Ltd | Option B – Solar | String Inverter (50kW) | Nos | 8 | 219871 | 1758968 | 23 | 59452 | 0 | 5 | Low | Delivery ex-stock Chennai warehouse
CAP-4022 | VND-A03 | ABB India | Option A – Retrofit | LED Industrial Lighting Retrofit | Lot | 1 | 455248 | 455248 | 11 | 19556 | 0 | 9 | Medium | Requires civil modification to existing panel room
CAP-4023 | VND-A04 | Havells Industrial | Option B – Solar | DC Cabling & AC Cabling | Lot | 1 | 384043 | 384043 | 7 | 13609 | 117090 | 17 | Medium | DISCOM approval pending; 6-week timeline
CAP-4024 | VND-A05 | L&T Electrical | Option A – Retrofit | SCADA Energy Monitoring System | System | 2 | 675534 | 1351068 | 12 | 20846 | 84112 | 4 | High | Price valid 30 days; subject to forex movement
CAP-4025 | VND-B01 | Vikram Solar | Option B – Solar | SCADA & Remote Monitoring | System | 1 | 289334 | 289334 | 25 | 37438 | 61857 | 5 | Low | MNRE subsidy applicable under PM-KUSUM scheme
CAP-4026 | VND-B02 | Tata Power Solar | Option A – Retrofit | Cable & Wiring Upgrade | Metres | 800 | 6030 | 4824000 | 9 | 54963 | 0 | 3 | Medium | Preferred vendor; past reference from Pune plant
CAP-4027 | VND-B03 | Waaree Energies | Option B – Solar | Battery Storage (Optional) | kWh | 100 | 35986 | 3598600 | 14 | 37727 | 159214 | 16 | High | Alternative vendor shortlisted; negotiation in progress
CAP-4028 | VND-B04 | Adani Solar | Option A – Retrofit | Harmonic Filter | Nos | 2 | 167679 | 335358 | 14 | 43485 | 81367 | 16 | Low | High lead time; order to be placed by Aug-25
CAP-4029 | VND-B05 | Greenko Group | Option B – Solar | Annual AMC Contract | Year | 1 | 184798 | 184798 | 6 | 53918 | 94494 | 2 | Medium | O&M bundled with 3-yr service agreement